This guide specification is intended to be used with the North American Architectural Woodwork Standards (NAAWS) the quality standard published by the Woodwork Institute and the Architectural Woodwork Manufacturers Association of Canada.

This is a broad scope section incorporating wood casework, plastic laminate casework, and countertops.

Where materials or grades need to be selected possible choices are in brackets and in [Bold]. In some cases, we may not have been able to list all available choices. We have tried to provide ample annotation. Notes and comments are in gray shaded text boxes such as this one.

We haven’t attempted to specify for LEED. While careful material selections may contribute to several LEED credits, we are not qualified to provide the right specification language. Please consult a qualified LEED authority if LEED certification is a goal.

The Woodwork Institute Certified Seismic Installation Program (CSIP) is incorporated into this specification. By specifying CSIP, the architect incorporates Woodwork Institute’s preapproved casework attachment system, eliminating the need to provide attachment details and engineering within the plans and specifications. CSIP provides an inspection of the in-wall blocking before the walls are closed to confirm the proper location of backing, and an additional inspection of the installed work confirming that all casework is properly fastened. A Woodwork Institute Certificate of Compliance will be issued indicating that the work meets the seismic installation requirements. All inspections are done by WI staff. All costs of the program are borne by the casework installer. CSIP attachments are adequate for installation at any height in the building where the SDS is not greater than 1.93. There are some limitations on cabinet size. More information is available at http://woodworkinstitute.com.

This section also incorporates the Woodwork Institute quality assurance programs. Users are asked to choose between the Certified Compliance and Monitored Compliance programs. The Certified Compliance Program is based on a system of prequalification and accreditatopm. Woodwork Institute Affiliates inspect and certify their own work. Woodwork institute inspectors will re-inspect an Affiliate’s work if requested. The Monitored Compliance Program requires all work to be inspected at various stages of fabrication and installation by Woodwork Institute inspectors, with inspection reports issues to all parties after each inspection. Costs for these programs are borne by the millwork subcontractor. Visit to http://woodworkinstitute.com for details.

This guide specification covers the materials and methods you would want to specify for wood casework, plastic laminate casework and countertops. It is recommended that you read the “Cabinet Section” of the North American Architectural Woodwork Standards before using this guide specification. Many of the items you would ordinarily specify are governed by your choice of grade.

Revised November 2016

# GENERAL

## SUMMARY

### Section Includes:

#### [Wood casework] [Plastic laminate casework]

#### [Plastic laminate] [Solid surface] [Wood] countertops

#### Hardware typically furnished by the casework manufacturer

#### Shelving

#### [Decorative metalwork incorporated into wood casework]

#### Structural supports incorporated into wood casework

#### [Factory finishing]

Factory finishing is strongly recommended. It is extremely difficult to get a quality finish under job-site conditions.

### Excluding:

#### Metal support brackets and fittings that are part of the building structure

#### Plumbing, electrical fixtures, and telephone equipment

### Related sections:

#### Rough carpentry: Wood blocking or grounds inside finished walls or above finished ceilings.

#### Plumbing: Fixtures and fittings installed in countertops.

#### Wood doors.

## REFERENCES

### Minimum standards for work in this Section shall be in conformity with the North American Architectural Woodwork Standards (NAAWS) latest edition.

All of the other standards are referenced within NAAWS.

## SUBMITTALS

### Shop drawings:

#### Submit shop drawings in conformance with the requirements of NAAWS.

#### [Furnish a Woodwork Institute Certified Compliance Label on the first page of the shop drawings].

This is a requirement if you specify Certified Compliance, Monitored Compliance, or Certified Seismic Installation.

#### Submit two copies, one of which will be returned with reviewed notations. Make corrections noted (if any), and distribute required copies prior to the start of work.

### Samples:

#### Submit four finished samples of each species and cut of wood to be used. Lumber samples to be minimum 6 inches by 18 inches, and sheet product samples to be minimum 12 inches square. Samples shall represent the range of color and grain expected to be provided.

#### Submit four unfinished samples of each product to be provided for jobsite painting or finishing. Lumber samples to be minimum 6 inches by 18 inches, and sheet goods to be 12 inches square.

Include Item 1 if there is any factory finished wood or veneer included in this section. Include Item 2 if any wood is to be provided for job-site finishing.

#### Submit a sample in the specified finish of each hardware item that will be visible at exposed surfaces when the job is complete.

### [Mockups:

Mockups shouldn’t be necessary for most projects. Include this item if full-sized samples are desired.

#### Provide mockups of one base cabinet, one wall-hung cabinet, and one countertop. Base cabinet shall have at least one drawer. Mockup shall be of the material and finish to be provided. The approved mockup may be incorporated in the project.]

## QUALITY ASSURANCE

### Work shall be in accordance with the grade or grades specified of the North American Architectural Woodwork Standards.

### [Certified Compliance Program (CCP):

The Certified Compliance Program provides an additional level of assurance that the work will comply with the requirements of NAAWS and the specifications. Woodwork Institute Affiliates have been tested, and their work has been inspected by the Institute. Woodwork Institute inspectors will re-inspect Certified Compliance projects at no charge if there are any questions as to compliance.

#### Before delivery to the job site, provide a Woodwork Institute Certified Compliance Certificate indicating the millwork products being supplied and certifying that these products fully meet the requirements of the NAAWS grade or grades specified and of the plans and specifications.

#### Provide a Woodwork Institute Certified Compliance Label on each elevation of casework, each laminated plastic top, and each solid surface top.

#### At completion of installation, provide a Woodwork Institute Certified Compliance Certificate indicating the products installed, and certifying that the installation of these products fully meets the requirements of the NAAWS grade or grades specified.

#### All fees charged by the Woodwork Institute for their Certified Compliance program are the responsibility of the millwork manufacturer and/or installer and shall be included in their bid.]

### [Monitored Compliance Program (MCP):

The Monitored Compliance Program requires that work be inspected by Woodwork Institute inspectors at each phase of manufacturing and installation. Reports are issued after each inspection itemizing any noncompliant findings.

#### All millwork and the installation thereof for this project shall be monitored for compliance to the contract documents by a Woodwork Institute Director of Architectural Services.

##### Full particulars of the Woodwork Institute Monitored Compliance Program may be found at the Institute website at http://www.woodworkinstitute.com or by calling the administrative office at (916) 372-9943.

#### Millwork and/or installation found to be noncompliant (and not corrected) will be rejected.

#### Issuance of a Monitored Compliance Certificate is a prerequisite of acceptance.

#### All fees charged by the Woodwork Institute for its Monitored Compliance program are the responsibility of the millwork manufacturer and/or installer and shall be included in their bid.]

### [Certified Seismic Installation Program (CSIP):

CSIP requires that casework attachment be according to details and schedules that have been preapproved by OSHPD and the DSA. It frees the architect from the responsibility for engineering these connections. It is still necessary to design the in-wall backing, and to confirm that the walls themselves will carry the loads.

#### Before walls are closed, provide a Woodwork Institute Certified Seismic Installation Program report confirming that backing is provided in all locations required for casework installation, or identifying those locations where backing is missing or improperly located.

#### On completion of installation provide a Woodwork Institute Certified Seismic Installation Program Certificate, identifying the work covered and certifying that installation thereof meets the requirements of the WI CSIP attachment details and schedules.

#### All fees charged by the Woodwork Institute for its Certified Seismic Installation Program are the responsibility of the millwork installer, and shall be included in their bid.]

### Qualification:

#### [An Affiliate in good standing of the Woodwork Institute Certified Compliance Program.]

Millwork subcontractors do not need to be WI Affiliates to participate in the certification programs. Affiliates are, however, prequalified in that their work has been inspected by WI staff, and they have passed a test on NAAWS.

#### Firm (woodwork manufacturer) with no less than 5 years of production experience similar to a specific project, whose qualifications indicate the ability to comply with the requirements of this Section.

#### The woodwork manufacturer must have at least one project in the past 5 years where the value of the woodwork was within 20 percent of the cost of woodwork for this project.

### Single source responsibility: A single manufacturer shall provide and install the work of described in this Section.

## DELIVERY STORAGE AND HANDLING

### Deliver materials only when the project is ready for installation and the general contractor has provided a clean storage area.

#### Delivery of architectural millwork shall be made only when the area of operation is enclosed, all plaster and concrete work is dry and the area broom clean.

#### Maintain indoor temperature and humidity within the range recommended by NAAWS for the location of the project.

## SCHEDULING

### Coordinate fabrication, delivery, and installation with the general contractor and other applicable trades.

# PRODUCTS

## COMPONENTS

### Lumber: In accordance with the NAAWS Grade specified for the product being fabricated. Moisture Content: 6% to 12% for boards up to 2 inch (50.8 mm) nominal thickness, and shall not exceed 19% for thicker pieces.

### Veneers: In accordance with NAAWS requirements for its use and the grades.

### Core shall be [MDF] [particleboard] meeting the requirements of NAAWS.

Particleboard or MDF are recommended as core materials. MDF has modestly better mechanical properties.

#### [Made with no added urea formaldehyde] [CARB compliant]

#### Water-resistant core, where required: MDF meeting the requirements of ANSI A208.2 Grade 155 MR-50.

### Veneer core plywood: A non-telegraphing hardwood manufactured with exterior glue.

### Plastic laminate: Meeting the requirements of NAAWS for its use.

### [Cabinet liner: NEMA LD-3 Grade CLS.]

Include this Item if you intend to use cabinet liner at semi-exposed surfaces. 2.02 B 3

### Edgeband

#### Veneer of the same species and cut as the exposed surfaces

#### [PVC] [ABS] [High-pressure decorative laminate].

PVC and ABS edgeband are available to match many laminate patterns. PVC is more durable than laminate and is less subject to glue failure. PVC is available in 3mm and 0.5mm thicknesses. 0.5mm is generally used at case bodies, and 3mm may be used at doors, drawer fronts, and false fronts. ABS is a new product that claims to have the positive qualities of PVC without the environmental downside.

### Adhesives: [Type I] [Type II]. EMA

Type I glue is waterproof; Type II is water-resistant. Type II is satisfactory except for sink tops and possibly sink cabinets.

### Hardware:

#### Finish: [_________]

#### Pulls: [_________]

#### Drawer Guides: [Full extension] [¾ extension].

If you specify brand and model of drawer guides, specify for pencil drawers, box drawers, file drawers, and lateral file drawers, as applicable.

##### Meeting the requirements of NAAWS for the type and size of drawer

##### File drawers: Full extension. Minimum 100-pound capacity except 150-pound capacity for lateral files.

#### Hinges: [Five knuckle Grade 1 hinges] [Concealed European style Grade II hinges minimum 120º opening] [Brand, model].

NAAWS requires Grade I hinges for schools and hospitals and recommends them for police and fire facilities. If you select Euro-style hinges (which are grade 2 or grade 3) you need to choose the maximum opening angle. 120 degree hinges are more robust than 170 degree hinges and require less frequent adjustment. All Euro hinges tend to get out of adjustment over time.

#### Door Catches: [_________].

If self-closing hinges are selected, catches will not be required. Self-closing Grade I hinges are not available.

#### Shelf supports: [Brand, catalog #] [Bored hole system with metal supports] [Recessed metal shelf standard with compatible supports]

Bored hole shelf support systems and metal shelf ladders have both been determined to provide satisfactory support.

#### [Locks

##### Door locks: [__________].

##### Drawer locks: [__________].

##### Glass door locks: [_________].

##### Keying: [Keyed alike] [Each room keyed alike] [Keyed per schedule]

###### Provide [__________] keys per lock.

###### Provide [___] master keys.]

Locks will not be provided unless they are shown on the drawing or specified for all locations.

#### Elbow catches: [__________].

Elbow catches will only be necessary at the inactive leaf of locking pairs of doors. If no door locks are required, elbow catches will not be necessary.

#### Sliding glass door hardware: [_________].

Sliding glass doors that are more than 1½ times as tall as they are wide should be installed using top-hung hardware. Tall, thin glass doors on bottom roller systems will tip and bind.

#### Etc.

Other hardware items may include wire grommets, keyboard trays, and other specialty items.

## FABRICATION

### Wood casework

#### Grade: NAAWS [Premium Grade] [Custom Grade] [Grades shown on plans]

Custom grade is typically specified for, and adequately covers, most high-quality architectural woodwork. Premium Grade is typically specified for the most visible and high-profile areas such as reception counters, boardrooms, and executive areas.

#### Construction type: [A, frameless] [B, face frame]

#### Cabinet and door interface style: [Flush overlay] [Flush reveal] [Lipped] [Flush inset].

Flush overlay doors cover the face of the cabinet, with 1/8 inch gaps between doors, drawer fronts, and false fronts. Reveal overlay and lipped doors leave a margin around each door that exposes the cabinet front. Depending on the size of the reveal, face frames may be necessary. Flush Inset doors require face frames. See Section 10 of the AWS for more information.

Note that flush overlay and flush reveal refer to the relationship between the cabinet doors and drawer fronts and the cabinet body and do not require flush doors. Frame and panel doors can be used with any interface style.

#### Exposed surfaces: [[Species], [cut]], [[book][slip] matched] [material suitable for opaque finish]] meeting the requirements of NAAWS for the grade specified.

Exposed surfaces are those that show when cabinet doors and drawers are closed, but not the interiors of open cabinets or cabinets with glass doors.

The species is the species of tree, such as oak or maple. The cut is the angle of the face of the board to the growth rings. Flat-sawn or plain sliced is the most common cut. Quarter-sawn or rift cut lumber is cut with the face at right angles to the growth rings, giving a vertical grain appearance. Match refers to the way veneer leaves are matched within a panel. Book match is the most common. See Section 4 of NAAWS for more information.

##### [Blueprint match: Blueprint match veneers on casework, wall paneling, and doors at room(s) [_____].

Blueprint match is only necessary if there is an area where veneers need to be sequence matched on wall paneling, doors, and casework. Similar language must be inserted in the sections specifying wood paneling, wood trim, and wood doors. See WI guide specs for those products.

###### All work in this/these area(s) shall be NAAWS Premium Grade.

###### Casework, paneling, doors and wood trim shall be provided by the same manufacturer.

###### Veneers shall be taken from the same flitch, to be selected by the architect.

###### Faces at cabinet doors, drawer fronts and false fronts shall be sequence matched, shall run and match vertically, and shall be sequence matched with adjacent wall paneling and/or doors.

###### Faces at exposed ends of cabinets shall be selected from the same flitch, and shall be well matched to the adjacent paneling and to the cabinet fronts.

###### All components including casework, paneling, doors, and trim shall be factory finished at the same time in the same facility.]

#### Exposed interior surfaces shall be [per the requirements of NAAWS] [veneer of the same species and cut as the exposed faces] [low-pressure melamine overlay].

Exposed interior surfaces are the interiors of open cabinets and cabinets with glass doors.

NAAWS Custom Grade allows veneer of the same species, but not the same cut, as the Exposed Exterior Surfaces here. Requiring the same cut will make for a better match.

#### Semi-exposed surfaces shall be [per the requirements of NAAWS] [veneer of the same species as the exposed faces] [low-pressure melamine overlay].

Semi-exposed surfaces are the surfaces that show only when cabinet doors or drawers are open.

NAAWS allows melamine or veneer of the manufacturer’s choice for Custom Grade.

#### Edgeband: [Veneer matching exposed surfaces] [One-eighth-inch thick solid hardwood or the same species and cut as the exposed surfaces.]

Eighth-inch hardwood is more durable, but the edge will show on doors and drawer fronts.

#### Drawers:

##### Sides: [Solid hardwood] [Seven- or nine-ply plywood with no interior voids] [Particle board with melamine surfacing]

##### Bottoms: [Hardwood plywood of the same species as the drawer sides.] [MDF with melamine surfacing.] Bottoms shall be fully housed into drawer sides, backs, and sub fronts, and securely glued.

##### Joinery: [Dovetails] [Dowels] [Glued and nailed lock joints]

In each case, the choices go from highest quality and most expensive to lower quality and least expensive. Any of these choices makes an acceptable drawer. A solid hardwood drawer with dovetail construction is a thing of beauty and will probably outlast the cabinet, if not the building. A particle board and melamine drawer with lock joints is serviceable, and will stand up for a long time if not abused.

### Plastic laminate casework:

#### Grade: NAAWS [Custom] [Premium] Grade.

Custom Grade is intended for, and adequate for, almost all high-quality architectural woodwork. Premium Grade is typically specified for the most visible and high-profile areas such as reception counters, boardrooms, and executive areas.

#### Exposed exterior surfaces: High-pressure decorative laminate, color and pattern as selected by the architect

#### Exposed interior surfaces: [High-pressure laminate matching exposed surfaces] [Low-pressure melamine overlay of a color and pattern compatible with exposed surfaces] [Low pressure melamine overlay]

NAAWS allows melamine of a “compatible” color and pattern for Custom Grade. It requires matching high-pressure laminate for Premium Grade. The third choice here would allow white melamine for these surfaces, which would save money at an aesthetic cost.

#### Semi-exposed surfaces: [Low-pressure melamine overlay] [Cabinet liner] [Laminate matching exposed surfaces]

Melamine is a single sheet of paper that is saturated with melamine resin, then applied to the core under heat at low pressure. It is the least durable of these choices and the least expensive. Cabinet liner is high-pressure laminate, 0.020 inches thick, that is manufactured with high heat and pressure. It is a little thinner than exposed grades of laminate, a lot cheaper, and only comes in a few colors. Cabinet liner is more durable than melamine, but more expensive. Laminate matching the exposed is about as durable as cabinet liner, and more expensive, but may be preferred for aesthetic reasons. Melamine is the industry standard and is adequate for most applications.

#### Cabinet construction type: Frameless

Face frame construction is very uncommon for plastic laminate casework. It is more difficult and more expensive than the same type construction for wood casework.

#### Door interface style: [Flush overlay] [Reveal overlay]

Flush overlay is the most common door interface style for plastic laminate casework. Overlay doors cover the face of the cabinet, with 1/8 inch gaps between the doors, drawer fronts, and false fronts. Reveal overlay doors have a larger gap between doors, except the meeting edges of pairs.

#### Edgeband: [PVC, matching the color and pattern of the exposed laminate] [ABS, matching the color and pattern of the exposed laminate] [High-pressure laminate of the same color and pattern as the exposed surfaces]

PVC edgeband is less likely to chip than laminate, and it is less susceptible to glue failure. Most laminate colors and patterns are available in PVC. ABS has the same advantages as PVC, and is arguably more environmentally friendly. PVC is widely available.

##### [Edgeband at doors, drawer fronts, and false fronts: 3mm [PVC] [ABS]]

PVC and ABS edgeband come in 3mm and 0.5mm thicknesses. 3mm edgeband on doors and drawer fronts is more durable, but the thicker edge will be more noticeable if the laminate is a wood grain or other pattern rather than a solid color.

#### Drawers:

##### Sides: [Solid hardwood] [Seven- or nine-ply hardwood plywood with no internal voids] [Particle board with melamine surfacing]

##### Bottoms: [Hardwood plywood of the same species and cut as the drawer sides.] [MDF with melamine faces.] Bottoms shall be fully housed into drawer sides, backs, and sub-fronts, and securely glued.

##### Joinery: [Dovetails] [Dowels] [Nailed and glued lock joints]

In each case, the highest quality/most expensive option is listed first and the least expensive last. A solid hardwood drawer with dovetail construction is a thing of beauty, and will probably outlast the cabinet, if not the building. A particle board and melamine drawer with lock joints is serviceable, and will last a long time if not abused.

### Laminated plastic countertops:

#### Laminate: [Manufacturer, pattern] [As indicated on drawings] [As selected by the architect]

#### Core material: [Particleboard] [MDF] [Exterior grade hardwood plywood with a non-telegraphing grain]

##### Core for sink tops: [Water-resistant [particle board] [MDF] meeting the requirements of ANSI A-208.1 or ANSI A208.2 Grade MR-50] [Exterior grade hardwood plywood with a non-telegraphing grain]

Particleboard and MDF are satisfactory in most environments. NAAWS requires water-resistant particleboard or MDF at tops with sinks. Plywood is recommended only in the most abusive wet environments. Do specify MR-50 grade particle board or MDF; there are “water resistant” grades that are less so.

#### Backsplashes: Assembly [1-wall mount, jobsite assembled] [2-deck mount, manufacturer assembled]

We prefer the deck mount system. If the backsplash is fastened to the wall, rather than the countertop, a gap between the bottom of the backsplash and the deck will develop over time. If you prefer the deck mount system, you must so specify, otherwise the assembly method is manufacturer’s option.

#### Backsplash detail: [Butt joint,] [Cove,] [Per drawings,] [____] inches (millimeters) high.

If several backsplash details are used, label “per drawing,” and be sure all tops are clearly detailed in the plans.

#### Front edge: [Self-edge] [No-drip bullnose edge] [Waterfall edge] [No-drip tilt edge] [Three millimeter PVC edge] [Wood edge] [As indicated on drawings]

As mentioned above, if several details are to be used, make sure they are clearly shown and labeled on the plans.

### Solid surface countertops:

#### Solid surface: [Brand, pattern, color]

#### Backsplashes: [Butt joint,] [Cove,] [Per drawings,] [____] inches (millimeters) high

If several backsplash details are used, call out “per drawings,” and be sure all tops are clearly detailed and labeled in the plans.

#### Front edges: [Self-edge] [No-drip bullnose edge] [Waterfall edge] [No-drip tilt edge] [As indicated on the drawings]

As above, if several details are to be used, make sure they are clearly shown and labeled on the plans.

### Wood countertops:

#### Exposed surfaces: [Species, cut, match] [Species, butcher block]

#### Core: [Solid lumber construction, no core] [Hardwood veneer] [Particle board] [MDF]

#### Backsplash: [Thickness, height]

#### Front edge: [Thickness,] [square edge][bullnose edg.][waterfall edge]

#### Adhesive: [Type 1, fully waterproof] [Type 2, water-resistant]

### Factory finishing

#### Finish all exposed and semi-exposed wood surfaces before delivery to the job site.

#### North American Architectural Woodwork Standards finish system [____]

#### Grade: NAAWS [Premium] [Custom] Grade

As noted above, factory finishing is strongly recommended. In addition to getting a better finish, you are moving the air quality problems off-site where a proper spray booth will protect the environment and the health of the finishers. It is still worthwhile to select a low VOC finishing system, as some touch up will be required at the job site.

Commonly used NAAWS finish systems are: 2. Pre-catalyzed lacquer. 3. Post catalyzed lacquer. 5. Conversion varnish. 11. Catalyzed polyurethane. 12. Water-based polyurethane. See Section 5 of NAAWS for the advantages and disadvantages of each system.

# EXECUTION

## EXAMINATION

### Verify the adequacy and proper location of any required backing or support framing.

### Verify that mechanical, electrical, plumbing, and other building components affecting work in this section are in place and ready.

## [FIELD QUALITY CONTROL

### Provide Woodwork Institute Certified Seismic Installation System inspection reports and certificates as specified in part 1 of this section.]

Include this article if you are using the WI CSIP program.

## INSTALLATION

### Install all work in conformance with the North American Architectural Woodwork Standards (NAAWS), latest edition.

#### Installation shall conform to the NAAWS grade of the items being installed.

### All work shall be secured in place, square, plumb, and level.

### All work abutting other building components shall be properly scribed.

### Mechanical fasteners used at exposed and semi-exposed surfaces, excluding installation attachment screws and those securing cabinets end to end, shall be countersunk.

### Equipment cutouts shown on plans shall be cut by the installer.

## ADJUSTING AND TOUCH UP

### Before completion of the installation, the installer shall adjust all moving and operating parts to function smoothly and correctly.

### All nicks, chips, and scratches in the finish shall be filled and retouched. Damaged items that cannot be repaired shall be replaced.

## CLEANUP

### Upon completion of installation, the installer shall clean all installed items of pencil and ink marks and broom clean the area of operation, depositing debris in containers provided by the general contractor.

END OF SECTION